## Content
1 MW Solar Power Plant Model
Contents
Project Assumptions
Debt - Loan Amortisation Sch
Cost - Expenses
Depreciation
P&L Statement
Balance Sheet
Cash Flow Statement
NPV, IRR, DSCR, PB

## Project Assumptions
1 MW Solar Power Plant Model |  |  |  | Back to Content
General Assumptions
|  | Location | Titilagarh, Odisha
|  | Project Size (in MW) | 1
|  | Number of Sun days | 365
|  | Per day Output (Units-kWh) | 5000-7000 | (Considering average of 6 hour sunlight per day per year in India)
|  | Total Annual Output (generation in MWh) | 1800 to 2500 | (5000*365 to 6500*365 before losses)
|  | Generation depreciation factor (up to 10 years) | 0.4% |  | 2372500
|  | Generation depreciation factor (above 10 years) | 0.75%
|  | Depreciation as per IT Act – WDV | 15%
|  | Salvage Value of PV Modules (%-age of initial cost) | 60%
|  | Salvage Value of Inverters and transformers (%-age of initial cost) | 20%
|  | Salvage Value of Civil Structures and wires and cables (%-age of initial cost) | 2%
|  | Construction period (in days) | 180
|  | Project Construction Start Date | 2020-07-01
|  | Project Construction End Date | 2020-12-28
|  | Land per MW Plant (in acres) | 5
|  | Cost of Land per acre | 500000
|  | Tax Rate | 30%
|  | Tax Holidays (in years) | 10 | (As per Govt., year of tax rebate after start of operations)
|  | Power Tariff per kWh | 7
|  | Project Period of Operations (in years) | 25
Finance Assumptions
|  | Equity Contribution | 20%
|  | Term Loan | 80%
|  | Bank Interest Rate on Loan | 12%
|  | Loan Moratorium Period | 1 year | (No extra charge assumption)
|  | Discount Rate | 7%
|  | Loan Tenure | 10
Operations Assumptions
|  | OpEx | 1500000 | (Assuming Operating expenses to be constantly increasing by 5% each year till the project period)
|  | Increase in OpEx per year | 3%
Other Assumptions
No subsidy is considered form Govt.

## Debt - Loan Amortisation Sch
Loan from banks - Amortisation/Repayment Schedule | [5 empty] | Back to Content
*All costs in Lakhs
| Loan amount | 604
| Loan amount principal after moratorium period | 604 | (after moratorium period interest)
| Interest | 12%
| Tenure (Years) | 10
| EMI | 106.8984
| Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
| Principal Outstanding | 604 | 569.5816 | 531.0329 | 487.8584 | 439.503 | 385.3449 | 324.6879 | 256.752 | 180.6638 | 95.445 | 1.5632e-13
| EMI | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984
| Interest Payable | 72.48 | 68.3498 | 63.724 | 58.543 | 52.7404 | 46.2414 | 38.9625 | 30.8102 | 21.6797 | 11.4534
| Principal Payable | 34.4184 | 38.5486 | 43.1745 | 48.3554 | 54.1581 | 60.657 | 67.9359 | 76.0882 | 85.2188 | 95.445

## Cost - Expenses
Particulars | in lakhs | %-age of Total |  | Back to Content
PV Modules - Supply, Installation and Commisioning | 400 | 52.98%
Civil Structures | 80 | 10.6%
Inverters - Supply, Installation and Commisioning | 100 | 13.25%
Wires and cables and associated Civil work | 40 | 5.298%
Transformers - Supply, Installation and Commisioning | 25 | 3.311%
SCADA Systems, Other displays and protective equipments | 30 | 3.974%
Insurance | 10 | 1.325% | (Assumed to be for 10 years)
EPC Cost | 20 | 2.649%
Legal and Paperworks | 15 | 1.987%
Miscellaneous | 10 | 1.325%
Land | 25 | 3.311%
Total Cost | 755 | 100%

## Depreciation
Depreciation on fixed assets (WDV Method used) | [5 empty] | Back to Content
*All costs in Lakhs
Years
| Particulars |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Depreciation on PV Modules
|  | Initial Cost | 400
|  | Salavage Value | 240
|  | Project Period | 25
|  | Depreciation |  | 8 | 7.84 | 7.6832 | 7.5295 | 7.3789 | 7.2314 | 7.0867 | 6.945 | 6.8061 | 6.67 | 6.5366 | 6.4059 | 6.2777 | 6.1522 | 6.0291 | 5.9086 | 5.7904 | 5.6746 | 5.5611 | 5.4499 | 5.3409 | 5.234 | 5.1294 | 5.0268 | 4.9262
Depreciation on Inverters
|  | Initial Cost | 125
|  | Salavage Value | 25
|  | Project Period | 25
|  | Depreciation |  | 7.75 | 7.2695 | 6.8188 | 6.396 | 5.9995 | 5.6275 | 5.2786 | 4.9513 | 4.6443 | 4.3564 | 4.0863 | 3.8329 | 3.5953 | 3.3724 | 3.1633 | 2.9672 | 2.7832 | 2.6107 | 2.4488 | 2.297 | 2.1546 | 2.021 | 1.8957 | 1.7781 | 1.6679
Depreciation on Civil Structures, SCADA system, wires and cables and other protective items
|  | Initial Cost | 110
|  | Salavage Value | 2.2
|  | Project Period | 25
|  | Depreciation |  | 15.95 | 13.6372 | 11.6598 | 9.9692 | 8.5236 | 7.2877 | 6.231 | 5.3275 | 4.555 | 3.8945 | 3.3298 | 2.847 | 2.4342 | 2.0812 | 1.7795 | 1.5214 | 1.3008 | 1.1122 | 0.95093 | 0.81305 | 0.69516 | 0.59436 | 0.50818 | 0.43449 | 0.37149
| Total Depreciation |  |  | 31.7 | 28.7467 | 26.1618 | 23.8947 | 21.9021 | 20.1466 | 18.5963 | 17.2238 | 16.0055 | 14.9209 | 13.9527 | 13.0858 | 12.3072 | 11.6058 | 10.9719 | 10.3972 | 9.8744 | 9.3974 | 8.9608 | 8.5599 | 8.1906 | 7.8494 | 7.5332 | 7.2394 | 6.9656

## P&L Statement
Profit and Loss Statement - Projected for next 25 years of project life | [6 empty] | Back to Content
*All costs in Lakhs
Years
| Particulars |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Generation (MWh/year) |  | 2400 | 2390.4 | 2380.8384 | 2371.315 | 2361.8298 | 2352.3825 | 2342.9729 | 2333.601 | 2324.2666 | 2314.9696 | 2297.6073 | 2280.3752 | 2263.2724 | 2246.2979 | 2229.4507 | 2212.7298 | 2196.1343 | 2179.6633 | 2163.3158 | 2147.091 | 2130.9878 | 2115.0054 | 2099.1428 | 2083.3993 | 2067.7738
| Revenue |  | 168 | 167.328 | 166.6587 | 165.9921 | 165.3281 | 164.6668 | 164.0081 | 163.3521 | 162.6987 | 162.0479 | 160.8325 | 159.6263 | 158.4291 | 157.2409 | 156.0615 | 154.8911 | 153.7294 | 152.5764 | 151.4321 | 150.2964 | 149.1691 | 148.0504 | 146.94 | 145.8379 | 144.7442
|  | Total Operating expense | 15 | 15.45 | 15.9135 | 16.3909 | 16.8826 | 17.3891 | 17.9108 | 18.4481 | 19.0016 | 19.5716 | 20.1587 | 20.7635 | 21.3864 | 22.028 | 22.6888 | 23.3695 | 24.0706 | 24.7927 | 25.5365 | 26.3026 | 27.0917 | 27.9044 | 28.7416 | 29.6038 | 30.4919
| Gross profit |  | 153 | 151.878 | 150.7452 | 149.6011 | 148.4455 | 147.2777 | 146.0973 | 144.904 | 143.6971 | 142.4763 | 140.6738 | 138.8628 | 137.0427 | 135.2128 | 133.3727 | 131.5216 | 129.6588 | 127.7837 | 125.8956 | 123.9938 | 122.0775 | 120.146 | 118.1984 | 116.2341 | 114.2523
|  | Salaries/Wages paid | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
| Operating Profit |  | 138 | 136.878 | 135.7452 | 134.6011 | 133.4455 | 132.2777 | 131.0973 | 129.904 | 128.6971 | 127.4763 | 125.6738 | 123.8628 | 122.0427 | 120.2128 | 118.3727 | 116.5216 | 114.6588 | 112.7837 | 110.8956 | 108.9938 | 107.0775 | 105.146 | 103.1984 | 101.2341 | 99.2523
|  | Total Non-Operating expense | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2
| EBITDA |  | 135.8 | 134.678 | 133.5452 | 132.4011 | 131.2455 | 130.0777 | 128.8973 | 127.704 | 126.4971 | 125.2763 | 123.4738 | 121.6628 | 119.8427 | 118.0128 | 116.1727 | 114.3216 | 112.4588 | 110.5837 | 108.6956 | 106.7938 | 104.8775 | 102.946 | 100.9984 | 99.0341 | 97.0523
|  | Interest paid on loan | 72.48 | 68.3498 | 63.724 | 58.543 | 52.7404 | 46.2414 | 38.9625 | 30.8102 | 21.6797 | 11.4534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Depreciation | 31.7 | 28.7467 | 26.1618 | 23.8947 | 21.9021 | 20.1466 | 18.5963 | 17.2238 | 16.0055 | 14.9209 | 13.9527 | 13.0858 | 12.3072 | 11.6058 | 10.9719 | 10.3972 | 9.8744 | 9.3974 | 8.9608 | 8.5599 | 8.1906 | 7.8494 | 7.5332 | 7.2394 | 6.9656
| Profit Before Tax (PBT) |  | 31.62 | 37.5815 | 43.6594 | 49.9634 | 56.603 | 63.6897 | 71.3384 | 79.6699 | 88.812 | 98.902 | 109.5211 | 108.577 | 107.5354 | 106.407 | 105.2008 | 103.9244 | 102.5844 | 101.1863 | 99.7348 | 98.2339 | 96.6869 | 95.0966 | 93.4652 | 91.7947 | 90.0866
|  | Tax @ 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.8563 | 32.5731 | 32.2606 | 31.9221 | 31.5602 | 31.1773 | 30.7753 | 30.3559 | 29.9204 | 29.4702 | 29.0061 | 28.529 | 28.0396 | 27.5384 | 27.026
| Profit After Tax (PAT) |  | 31.62 | 37.5815 | 43.6594 | 49.9634 | 56.603 | 63.6897 | 71.3384 | 79.6699 | 88.812 | 98.902 | 76.6647 | 76.0039 | 75.2748 | 74.4849 | 73.6406 | 72.7471 | 71.8091 | 70.8304 | 69.8144 | 68.7637 | 67.6808 | 66.5676 | 65.4257 | 64.2563 | 63.0606

## Balance Sheet
Balance Sheet - Projected for next 25 years of project life |  |  |  |  | Back to Content
*All costs in Lakhs
Particulars |  |  |  | Years
| Equity and Liabilities |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Shareholders Fund
|  |  | Share Capital | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151 | 151
|  |  | Reserves and Surplus | 31.62 | 69.2015 | 112.8609 | 162.8243 | 219.4273 | 283.117 | 354.4554 | 434.1253 | 522.9373 | 621.8393 | 698.504 | 774.5079 | 849.7827 | 924.2676 | 997.9082 | 1070.6553 | 1142.4643 | 1213.2947 | 1283.1091 | 1351.8728 | 1419.5536 | 1486.1212 | 1551.5469 | 1615.8032 | 1678.8638
Non-Current Liabilities
|  |  | Long-Term Borrowings | 604 | 569.5816 | 531.0329 | 487.8584 | 439.503 | 385.3449 | 324.6879 | 256.752 | 180.6638 | 95.445 | 1.5632e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Other Non-current Liabilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Non-Current Liabilities |  | 604 | 569.5816 | 531.0329 | 487.8584 | 439.503 | 385.3449 | 324.6879 | 256.752 | 180.6638 | 95.445 | 1.5632e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current Liabilities
|  |  | Short-Term Borrowings | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Trades Payable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Current Liabilities |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Liabilities |  | 604 | 569.5816 | 531.0329 | 487.8584 | 439.503 | 385.3449 | 324.6879 | 256.752 | 180.6638 | 95.445 | 1.5632e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total Equity and Liabilities |  | 786.62 | 789.783 | 794.8938 | 801.6827 | 809.9303 | 819.4619 | 830.1433 | 841.8773 | 854.6011 | 868.2843 | 849.504 | 925.5079 | 1000.7827 | 1075.2676 | 1148.9082 | 1221.6553 | 1293.4643 | 1364.2947 | 1434.1091 | 1502.8728 | 1570.5536 | 1637.1212 | 1702.5469 | 1766.8032 | 1829.8638
Assets
Non-Current Assets
|  |  | Land | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
|  |  | Plant and equipments | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675 | 675
|  |  | Less: Accumulated Depreciation | 31.7 | 60.4467 | 86.6086 | 110.5033 | 132.4054 | 152.552 | 171.1483 | 188.3721 | 204.3776 | 219.2985 | 233.2512 | 246.337 | 258.6442 | 270.25 | 281.2219 | 291.6191 | 301.4935 | 310.891 | 319.8518 | 328.4117 | 336.6022 | 344.4516 | 351.9848 | 359.2243 | 366.1899
|  |  | Ficticious Assets | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55
|  | Total Non-Current Assets |  | 723.3 | 694.5533 | 668.3914 | 644.4967 | 622.5946 | 602.448 | 583.8517 | 566.6279 | 550.6224 | 535.7015 | 521.7488 | 508.663 | 496.3558 | 484.75 | 473.7781 | 463.3809 | 453.5065 | 444.109 | 435.1482 | 426.5883 | 418.3978 | 410.5484 | 403.0152 | 395.7757 | 388.8101
Current Assets
|  |  | Trades Receivable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Cash and Cash equivalent | 63.32 | 95.2298 | 126.5024 | 157.186 | 187.3357 | 217.0139 | 246.2916 | 275.2495 | 303.9787 | 332.5828 | 327.7552 | 416.8449 | 504.4269 | 590.5177 | 675.1301 | 758.2744 | 839.9579 | 920.1857 | 998.9609 | 1076.2845 | 1152.1559 | 1226.5729 | 1299.5317 | 1371.0275 | 1441.0537
|  | Total Current Assets |  | 63.32 | 95.2298 | 126.5024 | 157.186 | 187.3357 | 217.0139 | 246.2916 | 275.2495 | 303.9787 | 332.5828 | 327.7552 | 416.8449 | 504.4269 | 590.5177 | 675.1301 | 758.2744 | 839.9579 | 920.1857 | 998.9609 | 1076.2845 | 1152.1559 | 1226.5729 | 1299.5317 | 1371.0275 | 1441.0537
|  | Total Assets |  | 786.62 | 789.783 | 794.8938 | 801.6827 | 809.9303 | 819.4619 | 830.1433 | 841.8773 | 854.6011 | 868.2843 | 849.504 | 925.5079 | 1000.7827 | 1075.2676 | 1148.9082 | 1221.6553 | 1293.4643 | 1364.2947 | 1434.1091 | 1502.8728 | 1570.5536 | 1637.1212 | 1702.5469 | 1766.8032 | 1829.8638
|  |  | Balance Sheet Status | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK

## Cash Flow Statement
Cash Flow Statement - Projected for next 25 years of project life |  |  |  |  | Back to Content
*All costs in Lakhs
Years
| Particulars |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Cash Flow from Operating Activity
|  | Net Profit before Tax (PBT) |  | 31.62 | 37.5815 | 43.6594 | 49.9634 | 56.603 | 63.6897 | 71.3384 | 79.6699 | 88.812 | 98.902 | 109.5211 | 108.577 | 107.5354 | 106.407 | 105.2008 | 103.9244 | 102.5844 | 101.1863 | 99.7348 | 98.2339 | 96.6869 | 95.0966 | 93.4652 | 91.7947 | 90.0866
Adjustment for:
|  | Depreciation and Amortisation | + | 31.7 | 28.7467 | 26.1618 | 23.8947 | 21.9021 | 20.1466 | 18.5963 | 17.2238 | 16.0055 | 14.9209 | 13.9527 | 13.0858 | 12.3072 | 11.6058 | 10.9719 | 10.3972 | 9.8744 | 9.3974 | 8.9608 | 8.5599 | 8.1906 | 7.8494 | 7.5332 | 7.2394 | 6.9656
|  | Loss on sale of fixed assets | + | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Profit on sale of fixed assets | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Operating Profit before working capital changes |  | 63.32 | 66.3282 | 69.8212 | 73.8581 | 78.5051 | 83.8363 | 89.9348 | 96.8937 | 104.8175 | 113.8229 | 123.4738 | 121.6628 | 119.8427 | 118.0128 | 116.1727 | 114.3216 | 112.4588 | 110.5837 | 108.6956 | 106.7938 | 104.8775 | 102.946 | 100.9984 | 99.0341 | 97.0523
|  | Increase in Current Assets | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Decrease in Current Assets | + | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Increase in Current Liabilities | + | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Decrease in Current Liabilities | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cash generated from Operating Activity |  | 63.32 | 66.3282 | 69.8212 | 73.8581 | 78.5051 | 83.8363 | 89.9348 | 96.8937 | 104.8175 | 113.8229 | 123.4738 | 121.6628 | 119.8427 | 118.0128 | 116.1727 | 114.3216 | 112.4588 | 110.5837 | 108.6956 | 106.7938 | 104.8775 | 102.946 | 100.9984 | 99.0341 | 97.0523
|  | Tax Paid |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32.8563 | 32.5731 | 32.2606 | 31.9221 | 31.5602 | 31.1773 | 30.7753 | 30.3559 | 29.9204 | 29.4702 | 29.0061 | 28.529 | 28.0396 | 27.5384 | 27.026
|  | Net Cash from/used in Operating Activity |  | 63.32 | 66.3282 | 69.8212 | 73.8581 | 78.5051 | 83.8363 | 89.9348 | 96.8937 | 104.8175 | 113.8229 | 90.6174 | 89.0897 | 87.582 | 86.0907 | 84.6125 | 83.1443 | 81.6835 | 80.2278 | 78.7752 | 77.3236 | 75.8714 | 74.417 | 72.9589 | 71.4957 | 70.0263
Cash Flow from Investing Activity
|  | Purchase of fixed assets | - | 700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Other Investments | - | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Sale of fixed assets | + | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net Cash from/used in Investing Activity |  | -755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Flow from Financing Activity
|  | Increase in Long-term borrowings | + | 604 | -34.4184 | -38.5486 | -43.1745 | -48.3554 | -54.1581 | -60.657 | -67.9359 | -76.0882 | -85.2188 | -95.445 | -1.5632e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Increase in Share Capital | + | 151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Net Cash from/used in Financing Activity |  | 755 | -34.4184 | -38.5486 | -43.1745 | -48.3554 | -54.1581 | -60.657 | -67.9359 | -76.0882 | -85.2188 | -95.445 | -1.5632e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opening Cash Balance |  |  | 0 | 63.32 | 95.2298 | 126.5024 | 157.186 | 187.3357 | 217.0139 | 246.2916 | 275.2495 | 303.9787 | 332.5828 | 327.7552 | 416.8449 | 504.4269 | 590.5177 | 675.1301 | 758.2744 | 839.9579 | 920.1857 | 998.9609 | 1076.2845 | 1152.1559 | 1226.5729 | 1299.5317 | 1371.0275
| Net Increase or decrease in Cash and Cash equivalents |  |  | 63.32 | 31.9098 | 31.2726 | 30.6837 | 30.1497 | 29.6782 | 29.2777 | 28.9578 | 28.7293 | 28.6041 | -4.8276 | 89.0897 | 87.582 | 86.0907 | 84.6125 | 83.1443 | 81.6835 | 80.2278 | 78.7752 | 77.3236 | 75.8714 | 74.417 | 72.9589 | 71.4957 | 70.0263
| Cash and Cash Equivalents |  |  | 63.32 | 95.2298 | 126.5024 | 157.186 | 187.3357 | 217.0139 | 246.2916 | 275.2495 | 303.9787 | 332.5828 | 327.7552 | 416.8449 | 504.4269 | 590.5177 | 675.1301 | 758.2744 | 839.9579 | 920.1857 | 998.9609 | 1076.2845 | 1152.1559 | 1226.5729 | 1299.5317 | 1371.0275 | 1441.0537

## NPV, IRR, DSCR, PB
Capital Budgeting Analysis of the project |  |  | Back to Content
*All costs in Lakhs
Years
| Year# | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
|  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
| Initial Investment | -755
| Cash Flows | -755 | 63.32 | 66.3282 | 69.8212 | 73.8581 | 78.5051 | 83.8363 | 89.9348 | 96.8937 | 104.8175 | 113.8229 | 90.6174 | 89.0897 | 87.582 | 86.0907 | 84.6125 | 83.1443 | 81.6835 | 80.2278 | 78.7752 | 77.3236 | 75.8714 | 74.417 | 72.9589 | 71.4957 | 70.0263
| Cummulative cash flow |  | 63.32 | 129.6482 | 199.4695 | 273.3276 | 351.8327 | 435.6689 | 525.6037 | 622.4974 | 727.3149 | 841.1378 | 931.7552 | 1020.8449 | 1108.4269 | 1194.5177 | 1279.1301 | 1362.2744 | 1443.9579 | 1524.1857 | 1602.9609 | 1680.2845 | 1756.1559 | 1830.5729 | 1903.5317 | 1975.0275 | 2045.0537
| PVF @ 10% Discount rate | 1 | 0.93458 | 0.87344 | 0.8163 | 0.7629 | 0.71299 | 0.66634 | 0.62275 | 0.58201 | 0.54393 | 0.50835 | 0.47509 | 0.44401 | 0.41496 | 0.38782 | 0.36245 | 0.33873 | 0.31657 | 0.29586 | 0.27651 | 0.25842 | 0.24151 | 0.22571 | 0.21095 | 0.19715 | 0.18425
|  |  | 59.1776 | 57.9336 | 56.9949 | 56.346 | 55.973 | 55.8636 | 56.0069 | 56.393 | 57.0138 | 57.8618 | 43.0517 | 39.5569 | 36.3434 | 33.3875 | 30.6674 | 28.1638 | 25.8589 | 23.7365 | 21.782 | 19.9819 | 18.3239 | 16.7969 | 15.3904 | 14.0951 | 12.9023
Payback Period |  | 9.0494 | Years 1 2021: years
Net Present Value (NPV)
| Rate | 7%
| NPV | 181.872
Internal rate of return (IRR)
| IRR | 9.647%
Debt Service Coverage Ratio (DSCR) |  |  | Years 1 2021: Years
| Particulars |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | Total
| Net Profit (PAT) |  | 31.62 | 37.5815 | 43.6594 | 49.9634 | 56.603 | 63.6897 | 71.3384 | 79.6699 | 88.812 | 98.902 | 621.8393
| Add: Depreciation |  | 31.7 | 28.7467 | 26.1618 | 23.8947 | 21.9021 | 20.1466 | 18.5963 | 17.2238 | 16.0055 | 14.9209 | 219.2985
| Add: Interest on Loan |  | 72.48 | 68.3498 | 63.724 | 58.543 | 52.7404 | 46.2414 | 38.9625 | 30.8102 | 21.6797 | 11.4534 | 464.9844
| Total Source |  | 135.8 | 134.678 | 133.5452 | 132.4011 | 131.2455 | 130.0777 | 128.8973 | 127.704 | 126.4971 | 125.2763 | 1306.1221
0
| Principal Payable |  | 34.4184 | 38.5486 | 43.1745 | 48.3554 | 54.1581 | 60.657 | 67.9359 | 76.0882 | 85.2188 | 95.445 | 604
| Interest Payable |  | 72.48 | 68.3498 | 63.724 | 58.543 | 52.7404 | 46.2414 | 38.9625 | 30.8102 | 21.6797 | 11.4534 | 464.9844
| Total Obligations |  | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 106.8984 | 1068.9844
| Gross DSCR |  | 1.2704 | 1.2599 | 1.2493 | 1.2386 | 1.2278 | 1.2168 | 1.2058 | 1.1946 | 1.1833 | 1.1719 | 1.2218
| Net DSCR |  | 1.8397 | 1.7206 | 1.6172 | 1.5274 | 1.4496 | 1.3821 | 1.3238 | 1.2734 | 1.23 | 1.1925 | 1.3926